Dishes/Trays

- 8.9 in x 6.9 in x 1.5 in HDPE Flat Bottom Tray x 2

  - https://www.labdepotinc.com/share_cart/action/restore/unique_id/af13b84aa28c9b7352c158481ccd849860fb0be969c3ff2089b9f9b9188ef2c8/utm_source/red_champs/utm_medium/email/utm_campaign/share-cart/

  - HDPE

  - 226mm x 160mm x 38mm

  - $29.24

- United Scientific™ Polypropylene Instrument Storage Tray, Small x 2

  - https://www.fishersci.com/shop/products/polypropylene-instrument-storage-tray-2/S01220

  - PP

  - 220mm x 150mm x 70mm

  - $46.50

Valve Mech

- BANJO Bulkhead Tank Fitting: Glass Reinforced Polypropylene Body, EPDM Gasket

  - https://www.grainger.com/product/BANJO-Bulkhead-Tank-Fitting-Glass-1MKH6

  - PP, Gasket EPDM

  - 1/2in Female NPT, 1/2in Female NPT

  - $11.24

- Inline Filter for 1/4" Tube ID, 6.6 scfm @ 125 PSI, Blue

  - https://www.mcmaster.com/4795K4/

  - PVDF

  - ¼” tube

  - 2 microns

  - $43.10

- PARKER Manual Two-Way Ball Valve: 1/2 in, Polypropylene, Straight, Push x MNPT, One-Piece, Lever

  - https://www.grainger.com/product/PARKER-Manual-Two-Way-Ball-Valve-792RP9

  - PP housing and PSU ball

  - ½” Female NPT, push connector

  - $19.99

- High-Purity Hard Polypropylene Tubing, Cleaned and Bagged, 1/8" ID, 1/4" OD

  - https://www.mcmaster.com/4218N11-4218N112/

  - PP

  - $27.90 for 5 ft

- Easy-Install Snap-Grip Clamps for Firm Hose and Tube, for tube to inline

  - https://www.mcmaster.com/products/hose-clamps/clamp-id~1-4-to-11-32/clamp-id~7-32-to-1-4/

  - ~$5.50

  - There are quick connect-disconnect lines

  - There are adapters for ¼” to others

Slide holder
https://www.mcmaster.com/products/plastics/filter-mesh-2~/

https://craftcloud3d.com/en/upload
Use above to get tray holder. Use ABS or PP

Cathode and Anode
https://www.mcmaster.com/catalog/9121K113 x 2 $13.66

https://www.mcmaster.com/catalog/2317K267 x 1 $11.45

Motor
https://www.digikey.com/en/products/filter/motors-ac-dc/178?s=N4IgjCBcpmAMVQGMoDMCGAbAzgUwDQgD2UA2iACxxgUUCsIhVNFAbI5XAOwCcAzAA4OfOnFpCAuoQAOAFyggAyrIBOASwB2AcxABfQmAF9EIFJAw4CxMiD58udOlxBSQchcvXa9hALQAmEzNVAFcrEkhyBgl9EF92aFMoUPCbYxjdXSA

Print a ridged kinda U to open and close the valve.